## mold_species_dataset
species_name | genus | common_category | primary_color | secondary_color | texture | growth_pattern | common_materials | common_locations | moisture_requirement | humidity_threshold_percent | temperature_range_c | porous_surface_growth | non_porous_surface_growth | health_risk_category | known_mycotoxin_producer | remediation_guidance | ai_visual_tags | ai_visual_group | moisture_indicator_level | health_risk_type | growth_start_time | detection_method | warning_marker_for_toxic_mold | visual_pattern | surface_preference
Stachybotrys chartarum | Stachybotrys | Toxigenic | dark green | black | slimy | patchy | drywall, wallpaper, cellulose | water damaged walls, ceilings | high | 70+ | 20-30 | yes | rare | high | yes | remove porous materials; correct moisture | black_colony, slimy_texture, water_damage | Sticky water-damage group | high | toxic + allergenic | 48-72+ hrs after sustained wetting | surface/bulk preferred; air may under-represent | no | dark green, black, slimy, patchy | porous materials preferred; non-porous growth usually on rare
Stachybotrys chlorohalonata | Stachybotrys | Toxigenic | dark green | black | slimy | patchy | drywall, wallpaper, cellulose | water damaged walls, ceilings | high | 70+ | 20-30 | yes | rare | high | yes | remove porous materials; correct moisture | black_colony, slimy_texture, water_damage | Sticky water-damage group | high | toxic + allergenic | 48-72+ hrs after sustained wetting | surface/bulk preferred; air may under-represent | no | dark green, black, slimy, patchy | porous materials preferred; non-porous growth usually on rare
Aspergillus niger | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Aspergillus fumigatus | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Aspergillus flavus | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Aspergillus versicolor | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Aspergillus terreus | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Aspergillus ochraceus | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Aspergillus sydowii | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Aspergillus glaucus | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Aspergillus candidus | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Aspergillus restrictus | Aspergillus | Allergenic / Opportunistic | green | gray | powdery | circular | drywall, insulation, dust | HVAC, walls, dust reservoirs | moderate | 60+ | 20-37 | yes | possible via dust | moderate | some strains | HEPA vacuum + damp wipe if light | green_powdery, round_colony, dusty_growth | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | green, gray, powdery, circular | porous materials preferred; non-porous growth usually on possible via dust
Penicillium chrysogenum | Penicillium | Common indoor | blue green | white | velvety | spreading | carpet, wallpaper, drywall | basements, walls, stored materials | moderate | 60+ | 15-30 | yes | possible via dust | moderate | some strains | dry area; remove damaged porous material if extensive | blue_green_velvet, diffuse_edges | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | blue green, white, velvety, spreading | porous materials preferred; non-porous growth usually on possible via dust
Penicillium expansum | Penicillium | Common indoor | blue green | white | velvety | spreading | carpet, wallpaper, drywall | basements, walls, stored materials | moderate | 60+ | 15-30 | yes | possible via dust | moderate | some strains | dry area; remove damaged porous material if extensive | blue_green_velvet, diffuse_edges | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | blue green, white, velvety, spreading | porous materials preferred; non-porous growth usually on possible via dust
Penicillium citrinum | Penicillium | Common indoor | blue green | white | velvety | spreading | carpet, wallpaper, drywall | basements, walls, stored materials | moderate | 60+ | 15-30 | yes | possible via dust | moderate | some strains | dry area; remove damaged porous material if extensive | blue_green_velvet, diffuse_edges | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | blue green, white, velvety, spreading | porous materials preferred; non-porous growth usually on possible via dust
Penicillium brevicompactum | Penicillium | Common indoor | blue green | white | velvety | spreading | carpet, wallpaper, drywall | basements, walls, stored materials | moderate | 60+ | 15-30 | yes | possible via dust | moderate | some strains | dry area; remove damaged porous material if extensive | blue_green_velvet, diffuse_edges | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | blue green, white, velvety, spreading | porous materials preferred; non-porous growth usually on possible via dust
Penicillium commune | Penicillium | Common indoor | blue green | white | velvety | spreading | carpet, wallpaper, drywall | basements, walls, stored materials | moderate | 60+ | 15-30 | yes | possible via dust | moderate | some strains | dry area; remove damaged porous material if extensive | blue_green_velvet, diffuse_edges | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | blue green, white, velvety, spreading | porous materials preferred; non-porous growth usually on possible via dust
Penicillium crustosum | Penicillium | Common indoor | blue green | white | velvety | spreading | carpet, wallpaper, drywall | basements, walls, stored materials | moderate | 60+ | 15-30 | yes | possible via dust | moderate | some strains | dry area; remove damaged porous material if extensive | blue_green_velvet, diffuse_edges | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | blue green, white, velvety, spreading | porous materials preferred; non-porous growth usually on possible via dust
Penicillium aurantiogriseum | Penicillium | Common indoor | blue green | white | velvety | spreading | carpet, wallpaper, drywall | basements, walls, stored materials | moderate | 60+ | 15-30 | yes | possible via dust | moderate | some strains | dry area; remove damaged porous material if extensive | blue_green_velvet, diffuse_edges | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | blue green, white, velvety, spreading | porous materials preferred; non-porous growth usually on possible via dust
Penicillium roqueforti | Penicillium | Common indoor | blue green | white | velvety | spreading | carpet, wallpaper, drywall | basements, walls, stored materials | moderate | 60+ | 15-30 | yes | possible via dust | moderate | some strains | dry area; remove damaged porous material if extensive | blue_green_velvet, diffuse_edges | Aspergillus/Penicillium-like | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air + surface/bulk | no | blue green, white, velvety, spreading | porous materials preferred; non-porous growth usually on possible via dust
Cladosporium cladosporioides | Cladosporium | Common indoor | olive green | brown | powdery | spotty | wood, textiles, painted surfaces | window sashes, HVAC, bathrooms | moderate | 60+ | 10-30 | yes | possible on dirty surfaces | low to moderate | rare | clean visible growth and reduce condensation | olive_spots, pepper_like_colonies | Cladosporium common-allergen group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air + surface/bulk | no | olive green, brown, powdery, spotty | porous materials preferred; non-porous growth usually on possible on dirty surfaces
Cladosporium herbarum | Cladosporium | Common indoor | olive green | brown | powdery | spotty | wood, textiles, painted surfaces | window sashes, HVAC, bathrooms | moderate | 60+ | 10-30 | yes | possible on dirty surfaces | low to moderate | rare | clean visible growth and reduce condensation | olive_spots, pepper_like_colonies | Cladosporium common-allergen group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air + surface/bulk | no | olive green, brown, powdery, spotty | porous materials preferred; non-porous growth usually on possible on dirty surfaces
Cladosporium sphaerospermum | Cladosporium | Common indoor | olive green | brown | powdery | spotty | wood, textiles, painted surfaces | window sashes, HVAC, bathrooms | moderate | 60+ | 10-30 | yes | possible on dirty surfaces | low to moderate | rare | clean visible growth and reduce condensation | olive_spots, pepper_like_colonies | Cladosporium common-allergen group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air + surface/bulk | no | olive green, brown, powdery, spotty | porous materials preferred; non-porous growth usually on possible on dirty surfaces
Cladosporium oxysporum | Cladosporium | Common indoor | olive green | brown | powdery | spotty | wood, textiles, painted surfaces | window sashes, HVAC, bathrooms | moderate | 60+ | 10-30 | yes | possible on dirty surfaces | low to moderate | rare | clean visible growth and reduce condensation | olive_spots, pepper_like_colonies | Cladosporium common-allergen group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air + surface/bulk | no | olive green, brown, powdery, spotty | porous materials preferred; non-porous growth usually on possible on dirty surfaces
Alternaria alternata | Alternaria | Allergenic | dark brown | olive | velvety | concentric | window trim, drywall, fabrics | condensation-prone windows, bathrooms | moderate | 65+ | 18-30 | yes | possible on dirty seals | moderate | possible | clean minor growth; correct condensation source | brown_velvet, concentric_rings | Dark multicellular spore group | moderate | allergenic | 24-48 hrs with persistent humidity | air + surface/bulk | no | dark brown, olive, velvety, concentric | porous materials preferred; non-porous growth usually on possible on dirty seals
Alternaria tenuissima | Alternaria | Allergenic | dark brown | olive | velvety | concentric | window trim, drywall, fabrics | condensation-prone windows, bathrooms | moderate | 65+ | 18-30 | yes | possible on dirty seals | moderate | possible | clean minor growth; correct condensation source | brown_velvet, concentric_rings | Dark multicellular spore group | moderate | allergenic | 24-48 hrs with persistent humidity | air + surface/bulk | no | dark brown, olive, velvety, concentric | porous materials preferred; non-porous growth usually on possible on dirty seals
Alternaria infectoria | Alternaria | Allergenic | dark brown | olive | velvety | concentric | window trim, drywall, fabrics | condensation-prone windows, bathrooms | moderate | 65+ | 18-30 | yes | possible on dirty seals | moderate | possible | clean minor growth; correct condensation source | brown_velvet, concentric_rings | Dark multicellular spore group | moderate | allergenic | 24-48 hrs with persistent humidity | air + surface/bulk | no | dark brown, olive, velvety, concentric | porous materials preferred; non-porous growth usually on possible on dirty seals
Alternaria atra | Alternaria | Allergenic | dark brown | olive | velvety | concentric | window trim, drywall, fabrics | condensation-prone windows, bathrooms | moderate | 65+ | 18-30 | yes | possible on dirty seals | moderate | possible | clean minor growth; correct condensation source | brown_velvet, concentric_rings | Dark multicellular spore group | moderate | allergenic | 24-48 hrs with persistent humidity | air + surface/bulk | no | dark brown, olive, velvety, concentric | porous materials preferred; non-porous growth usually on possible on dirty seals
Chaetomium globosum | Chaetomium | Water damage mold | white to gray | olive brown | cottony | patchy | wet drywall, paper backing, cellulose | flooded walls, subfloors | high | 70+ | 20-32 | yes | rare | high | possible | remove contaminated porous materials; dry structure | cottony_colony, water_damage, brown_maturation | Chaetomium water-damage marker | high | common indoor / allergen potential | 48-72+ hrs after sustained wetting | surface/bulk preferred; air may under-represent | yes | white to gray, olive brown, cottony, patchy | porous materials preferred; non-porous growth usually on rare
Chaetomium murorum | Chaetomium | Water damage mold | white to gray | olive brown | cottony | patchy | wet drywall, paper backing, cellulose | flooded walls, subfloors | high | 70+ | 20-32 | yes | rare | high | possible | remove contaminated porous materials; dry structure | cottony_colony, water_damage, brown_maturation | Chaetomium water-damage marker | high | common indoor / allergen potential | 48-72+ hrs after sustained wetting | surface/bulk preferred; air may under-represent | yes | white to gray, olive brown, cottony, patchy | porous materials preferred; non-porous growth usually on rare
Chaetomium elatum | Chaetomium | Water damage mold | white to gray | olive brown | cottony | patchy | wet drywall, paper backing, cellulose | flooded walls, subfloors | high | 70+ | 20-32 | yes | rare | high | possible | remove contaminated porous materials; dry structure | cottony_colony, water_damage, brown_maturation | Chaetomium water-damage marker | high | common indoor / allergen potential | 48-72+ hrs after sustained wetting | surface/bulk preferred; air may under-represent | yes | white to gray, olive brown, cottony, patchy | porous materials preferred; non-porous growth usually on rare
Chaetomium atrobrunneum | Chaetomium | Water damage mold | white to gray | olive brown | cottony | patchy | wet drywall, paper backing, cellulose | flooded walls, subfloors | high | 70+ | 20-32 | yes | rare | high | possible | remove contaminated porous materials; dry structure | cottony_colony, water_damage, brown_maturation | Chaetomium water-damage marker | high | common indoor / allergen potential | 48-72+ hrs after sustained wetting | surface/bulk preferred; air may under-represent | yes | white to gray, olive brown, cottony, patchy | porous materials preferred; non-porous growth usually on rare
Ulocladium chartarum | Ulocladium | Water damage mold | dark brown | black | velvety | patchy | wallboard, wood, paper | chronically wet bathrooms, basements | high | 70+ | 18-30 | yes | rare | moderate | possible | remove wet porous materials and control moisture | dark_velvet, wet_zone_growth | Dark multicellular spore group | moderate | common indoor / allergen potential | 48-72+ hrs after sustained wetting | surface/bulk + air comparison | yes | dark brown, black, velvety, patchy | porous materials preferred; non-porous growth usually on rare
Ulocladium atrum | Ulocladium | Water damage mold | dark brown | black | velvety | patchy | wallboard, wood, paper | chronically wet bathrooms, basements | high | 70+ | 18-30 | yes | rare | moderate | possible | remove wet porous materials and control moisture | dark_velvet, wet_zone_growth | Dark multicellular spore group | moderate | common indoor / allergen potential | 48-72+ hrs after sustained wetting | surface/bulk + air comparison | yes | dark brown, black, velvety, patchy | porous materials preferred; non-porous growth usually on rare
Fusarium oxysporum | Fusarium | Pathogenic / Water damage mold | pink | white | cottony | spreading | carpet, wallpaper, wet drywall | flooded materials, HVAC liners | high | 70+ | 15-30 | yes | rare | moderate to high | some strains | remove contaminated porous materials; use PPE | pink_white_growth, cottony_texture | Fusarium sickle-spore group | moderate | toxic + allergenic | 48-72+ hrs after sustained wetting | surface/bulk + air comparison | no | pink, white, cottony, spreading | porous materials preferred; non-porous growth usually on rare
Fusarium solani | Fusarium | Pathogenic / Water damage mold | pink | white | cottony | spreading | carpet, wallpaper, wet drywall | flooded materials, HVAC liners | high | 70+ | 15-30 | yes | rare | moderate to high | some strains | remove contaminated porous materials; use PPE | pink_white_growth, cottony_texture | Fusarium sickle-spore group | moderate | toxic + allergenic | 48-72+ hrs after sustained wetting | surface/bulk + air comparison | no | pink, white, cottony, spreading | porous materials preferred; non-porous growth usually on rare
Fusarium verticillioides | Fusarium | Pathogenic / Water damage mold | pink | white | cottony | spreading | carpet, wallpaper, wet drywall | flooded materials, HVAC liners | high | 70+ | 15-30 | yes | rare | moderate to high | some strains | remove contaminated porous materials; use PPE | pink_white_growth, cottony_texture | Fusarium sickle-spore group | moderate | toxic + allergenic | 48-72+ hrs after sustained wetting | surface/bulk + air comparison | no | pink, white, cottony, spreading | porous materials preferred; non-porous growth usually on rare
Fusarium proliferatum | Fusarium | Pathogenic / Water damage mold | pink | white | cottony | spreading | carpet, wallpaper, wet drywall | flooded materials, HVAC liners | high | 70+ | 15-30 | yes | rare | moderate to high | some strains | remove contaminated porous materials; use PPE | pink_white_growth, cottony_texture | Fusarium sickle-spore group | moderate | toxic + allergenic | 48-72+ hrs after sustained wetting | surface/bulk + air comparison | no | pink, white, cottony, spreading | porous materials preferred; non-porous growth usually on rare
Fusarium dimerum | Fusarium | Pathogenic / Water damage mold | pink | white | cottony | spreading | carpet, wallpaper, wet drywall | flooded materials, HVAC liners | high | 70+ | 15-30 | yes | rare | moderate to high | some strains | remove contaminated porous materials; use PPE | pink_white_growth, cottony_texture | Fusarium sickle-spore group | moderate | toxic + allergenic | 48-72+ hrs after sustained wetting | surface/bulk + air comparison | no | pink, white, cottony, spreading | porous materials preferred; non-porous growth usually on rare
Trichoderma viride | Trichoderma | Water damage mold | bright green | white | dense | patchy | wet wood, drywall, paper | leak areas, framing cavities | high | 70+ | 18-32 | yes | rare | moderate | possible | remove wet porous materials; dry source | bright_green_patch, dense_colony | Aspergillus/Penicillium-like | moderate | toxic + allergenic | 48-72+ hrs after sustained wetting | air + surface/bulk | yes | bright green, white, dense, patchy | porous materials preferred; non-porous growth usually on rare
Trichoderma harzianum | Trichoderma | Water damage mold | bright green | white | dense | patchy | wet wood, drywall, paper | leak areas, framing cavities | high | 70+ | 18-32 | yes | rare | moderate | possible | remove wet porous materials; dry source | bright_green_patch, dense_colony | Aspergillus/Penicillium-like | moderate | toxic + allergenic | 48-72+ hrs after sustained wetting | air + surface/bulk | yes | bright green, white, dense, patchy | porous materials preferred; non-porous growth usually on rare
Trichoderma koningii | Trichoderma | Water damage mold | bright green | white | dense | patchy | wet wood, drywall, paper | leak areas, framing cavities | high | 70+ | 18-32 | yes | rare | moderate | possible | remove wet porous materials; dry source | bright_green_patch, dense_colony | Aspergillus/Penicillium-like | moderate | toxic + allergenic | 48-72+ hrs after sustained wetting | air + surface/bulk | yes | bright green, white, dense, patchy | porous materials preferred; non-porous growth usually on rare
Trichoderma longibrachiatum | Trichoderma | Water damage mold | bright green | white | dense | patchy | wet wood, drywall, paper | leak areas, framing cavities | high | 70+ | 18-32 | yes | rare | moderate | possible | remove wet porous materials; dry source | bright_green_patch, dense_colony | Aspergillus/Penicillium-like | moderate | toxic + allergenic | 48-72+ hrs after sustained wetting | air + surface/bulk | yes | bright green, white, dense, patchy | porous materials preferred; non-porous growth usually on rare
Aureobasidium pullulans | Aureobasidium | Common indoor | pink | black | slimy to smooth | streaky | painted wood, caulk | window frames, bathrooms | moderate | 65+ | 10-35 | yes | possible | low to moderate | no | clean with detergent; reduce condensation | pink_black_streaks, glossy_growth | Aureobasidium visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | pink, black, slimy to smooth, streaky | porous materials preferred; non-porous growth usually on possible
Mucor racemosus | Mucor | Fast-growing indoor | white | gray | fuzzy | rapid spreading | food residue, dust, wet drywall | kitchens, basements | high | 70+ | 10-30 | yes | possible via debris | low to moderate | no | clean and dry promptly; discard heavily colonized materials | white_fuzzy, rapid_spread | Zygomycete-like fast-growth group | high | allergenic + opportunistic infectious | 48-72+ hrs after sustained wetting | air and/or surface depending on context | no | white, gray, fuzzy, rapid spreading | porous materials preferred; non-porous growth usually on possible via debris
Mucor circinelloides | Mucor | Fast-growing indoor | white | gray | fuzzy | rapid spreading | food residue, dust, wet drywall | kitchens, basements | high | 70+ | 10-30 | yes | possible via debris | low to moderate | no | clean and dry promptly; discard heavily colonized materials | white_fuzzy, rapid_spread | Zygomycete-like fast-growth group | high | allergenic + opportunistic infectious | 48-72+ hrs after sustained wetting | air and/or surface depending on context | no | white, gray, fuzzy, rapid spreading | porous materials preferred; non-porous growth usually on possible via debris
Mucor hiemalis | Mucor | Fast-growing indoor | white | gray | fuzzy | rapid spreading | food residue, dust, wet drywall | kitchens, basements | high | 70+ | 10-30 | yes | possible via debris | low to moderate | no | clean and dry promptly; discard heavily colonized materials | white_fuzzy, rapid_spread | Zygomycete-like fast-growth group | high | allergenic + opportunistic infectious | 48-72+ hrs after sustained wetting | air and/or surface depending on context | no | white, gray, fuzzy, rapid spreading | porous materials preferred; non-porous growth usually on possible via debris
Rhizopus stolonifer | Rhizopus | Fast-growing indoor | white | black | fuzzy | rapid spreading | food, dust, damp drywall | kitchens, trash areas | high | 70+ | 15-32 | yes | possible via debris | low to moderate | no | remove source debris and dry area | black_heads, fuzzy_mat | Zygomycete-like fast-growth group | high | allergenic + opportunistic infectious | 48-72+ hrs after sustained wetting | air and/or surface depending on context | no | white, black, fuzzy, rapid spreading | porous materials preferred; non-porous growth usually on possible via debris
Rhizopus arrhizus | Rhizopus | Fast-growing indoor | white | black | fuzzy | rapid spreading | food, dust, damp drywall | kitchens, trash areas | high | 70+ | 15-32 | yes | possible via debris | low to moderate | no | remove source debris and dry area | black_heads, fuzzy_mat | Zygomycete-like fast-growth group | high | allergenic + opportunistic infectious | 48-72+ hrs after sustained wetting | air and/or surface depending on context | no | white, black, fuzzy, rapid spreading | porous materials preferred; non-porous growth usually on possible via debris
Epicoccum nigrum | Epicoccum | Allergenic | orange | brown | powdery | spotty | painted surfaces, textiles | window frames, damp rooms | moderate | 65+ | 15-30 | yes | possible | low to moderate | possible | clean lightly affected surfaces and reduce humidity | orange_spots, small_round_colonies | Epicoccum visual group | moderate | allergenic | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | orange, brown, powdery, spotty | porous materials preferred; non-porous growth usually on possible
Epicoccum sorghinum | Epicoccum | Allergenic | orange | brown | powdery | spotty | painted surfaces, textiles | window frames, damp rooms | moderate | 65+ | 15-30 | yes | possible | low to moderate | possible | clean lightly affected surfaces and reduce humidity | orange_spots, small_round_colonies | Epicoccum visual group | moderate | allergenic | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | orange, brown, powdery, spotty | porous materials preferred; non-porous growth usually on possible
Curvularia lunata | Curvularia | Allergenic | dark brown | black | velvety | irregular | textiles, drywall, dust | HVAC, damp rooms | moderate | 65+ | 18-32 | yes | possible via dust | moderate | possible | clean and dry; HEPA dust removal | dark_irregular, velvet_texture | Curvularia visual group | moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | dark brown, black, velvety, irregular | porous materials preferred; non-porous growth usually on possible via dust
Curvularia geniculata | Curvularia | Allergenic | dark brown | black | velvety | irregular | textiles, drywall, dust | HVAC, damp rooms | moderate | 65+ | 18-32 | yes | possible via dust | moderate | possible | clean and dry; HEPA dust removal | dark_irregular, velvet_texture | Curvularia visual group | moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | dark brown, black, velvety, irregular | porous materials preferred; non-porous growth usually on possible via dust
Nigrospora oryzae | Nigrospora | Common indoor | black | gray | powdery | spotty | plant debris, drywall | window areas, storage | moderate | 60+ | 18-30 | yes | possible via dust | low | rare | remove debris and clean surfaces | black_spots, dust_like | Nigrospora visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | black, gray, powdery, spotty | porous materials preferred; non-porous growth usually on possible via dust
Nigrospora sphaerica | Nigrospora | Common indoor | black | gray | powdery | spotty | plant debris, drywall | window areas, storage | moderate | 60+ | 18-30 | yes | possible via dust | low | rare | remove debris and clean surfaces | black_spots, dust_like | Nigrospora visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | black, gray, powdery, spotty | porous materials preferred; non-porous growth usually on possible via dust
Phoma herbarum | Phoma | Water damage mold | olive brown | black | powdery | patchy | paint, paper, drywall | wet walls, window frames | moderate to high | 65+ | 10-30 | yes | possible on painted surfaces | moderate | possible | clean light growth; remove damaged porous materials if persistent | olive_black_patch, moisture_halo | Phoma visual group | moderate | common indoor / allergen potential | 48-72+ hrs after sustained wetting | surface/bulk + air comparison | no | olive brown, black, powdery, patchy | porous materials preferred; non-porous growth usually on possible on painted surfaces
Phoma glomerata | Phoma | Water damage mold | olive brown | black | powdery | patchy | paint, paper, drywall | wet walls, window frames | moderate to high | 65+ | 10-30 | yes | possible on painted surfaces | moderate | possible | clean light growth; remove damaged porous materials if persistent | olive_black_patch, moisture_halo | Phoma visual group | moderate | common indoor / allergen potential | 48-72+ hrs after sustained wetting | surface/bulk + air comparison | no | olive brown, black, powdery, patchy | porous materials preferred; non-porous growth usually on possible on painted surfaces
Stemphylium botryosum | Stemphylium | Allergenic | brown | olive | velvety | patchy | window trim, drywall | condensation-prone areas | moderate | 65+ | 18-30 | yes | possible | low to moderate | possible | clean and manage humidity | brown_patch, velvety_surface | Dark multicellular spore group | moderate | allergenic | 24-48 hrs with persistent humidity | air and/or surface depending on context | yes | brown, olive, velvety, patchy | porous materials preferred; non-porous growth usually on possible
Stemphylium vesicarium | Stemphylium | Allergenic | brown | olive | velvety | patchy | window trim, drywall | condensation-prone areas | moderate | 65+ | 18-30 | yes | possible | low to moderate | possible | clean and manage humidity | brown_patch, velvety_surface | Dark multicellular spore group | moderate | allergenic | 24-48 hrs with persistent humidity | air and/or surface depending on context | yes | brown, olive, velvety, patchy | porous materials preferred; non-porous growth usually on possible
Scopulariopsis brevicaulis | Scopulariopsis | Dry environment mold | tan | brown | powdery | patchy | wood, paper, dust | attics, dry walls, stored boxes | low to moderate | 55+ | 15-30 | yes | possible via dust | low to moderate | possible | HEPA vacuum and dry clean-up | tan_powder, dry_surface | Scopulariopsis visual group | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with residue + humidity | air and/or surface depending on context | no | tan, brown, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Scopulariopsis fusca | Scopulariopsis | Dry environment mold | tan | brown | powdery | patchy | wood, paper, dust | attics, dry walls, stored boxes | low to moderate | 55+ | 15-30 | yes | possible via dust | low to moderate | possible | HEPA vacuum and dry clean-up | tan_powder, dry_surface | Scopulariopsis visual group | low-to-moderate | allergenic + opportunistic infectious | 24-48 hrs with residue + humidity | air and/or surface depending on context | no | tan, brown, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Wallemia sebi | Wallemia | Dry environment mold | brown | black | powdery | low profile | dust, dry foods, drywall dust | dry indoor air, dusty shelving | low | 50+ | 15-30 | yes | possible via dust | low to moderate | possible | clean dust reservoirs and improve housekeeping | tiny_brown_colonies, dry_dusty | Wallemia visual group | low | dry-environment allergen / irritant potential | slower; low-water-activity tolerant conditions | air and/or surface depending on context | no | brown, black, powdery, low profile | porous materials preferred; non-porous growth usually on possible via dust
Wallemia muriae | Wallemia | Dry environment mold | brown | black | powdery | low profile | dust, dry foods, drywall dust | dry indoor air, dusty shelving | low | 50+ | 15-30 | yes | possible via dust | low to moderate | possible | clean dust reservoirs and improve housekeeping | tiny_brown_colonies, dry_dusty | Wallemia visual group | low | dry-environment allergen / irritant potential | slower; low-water-activity tolerant conditions | air and/or surface depending on context | no | brown, black, powdery, low profile | porous materials preferred; non-porous growth usually on possible via dust
Acremonium strictum | Acremonium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Aspergillus/Penicillium-like | low-to-moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Acremonium kiliense | Acremonium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Aspergillus/Penicillium-like | low-to-moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Paecilomyces variotii | Paecilomyces | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Aspergillus/Penicillium-like | low-to-moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air + surface/bulk | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Purpureocillium lilacinum | Purpureocillium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Purpureocillium visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Memnoniella echinata | Memnoniella | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Sticky water-damage group | high | toxic + allergenic | 24-48 hrs with persistent humidity | surface/bulk preferred; air may under-represent | yes | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Memnoniella longistipitata | Memnoniella | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Sticky water-damage group | high | toxic + allergenic | 24-48 hrs with persistent humidity | surface/bulk preferred; air may under-represent | yes | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Bipolaris spicifera | Bipolaris | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Bipolaris visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Bipolaris australiensis | Bipolaris | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Bipolaris visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Exophiala dermatitidis | Exophiala | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Exophiala visual group | moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Exophiala jeanselmei | Exophiala | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Exophiala visual group | moderate | allergenic + opportunistic infectious | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Drechslera spicifera | Drechslera | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Drechslera visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Drechslera hawaiiensis | Drechslera | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Drechslera visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Botrytis cinerea | Botrytis | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Botrytis visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Geotrichum candidum | Geotrichum | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Geotrichum visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Oidiodendron griseum | Oidiodendron | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Oidiodendron visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Myrothecium verrucaria | Myrothecium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Myrothecium visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Scedosporium apiospermum | Scedosporium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Scedosporium visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Syncephalastrum racemosum | Syncephalastrum | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Zygomycete-like fast-growth group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Torula herbarum | Torula | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Torula visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Verticillium dahliae | Verticillium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Aspergillus/Penicillium-like | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Verticillium albo-atrum | Verticillium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Aspergillus/Penicillium-like | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Cunninghamella bertholletiae | Cunninghamella | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Zygomycete-like fast-growth group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Eurotium amstelodami | Eurotium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Eurotium visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Humicola grisea | Humicola | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Humicola visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Lichtheimia corymbifera | Lichtheimia | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Lichtheimia visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Mortierella alpina | Mortierella | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Mortierella visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Pestalotiopsis microspora | Pestalotiopsis | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Pestalotiopsis visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Phialophora verrucosa | Phialophora | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Aspergillus/Penicillium-like | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Rhinocladiella aquaspersa | Rhinocladiella | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Rhinocladiella visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Scolecobasidium humicola | Scolecobasidium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Scolecobasidium visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Taeniolella stilbospora | Taeniolella | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Taeniolella visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Wangiella dermatitidis | Wangiella | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Wangiella visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Arthrinium saccharicola | Arthrinium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Arthrinium visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | yes | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Beltrania rhombica | Beltrania | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Beltrania visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Basidiobolus ranarum | Basidiobolus | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Basidiobolus visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Botryotrichum piluliferum | Botryotrichum | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Botryotrichum visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Gliocladium virens | Gliocladium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Aspergillus/Penicillium-like | low-to-moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air + surface/bulk | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Gliomastix murorum | Gliomastix | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Gliomastix visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Geomyces pannorum | Geomyces | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Geomyces visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Helminthosporium solani | Helminthosporium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Helminthosporium visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Hormodendrum hordei | Hormodendrum | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Hormodendrum visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Neosartorya fischeri | Neosartorya | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Neosartorya visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Ophiostoma ulmi | Ophiostoma | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Ophiostoma visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Pithomyces chartarum | Pithomyces | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Pithomyces visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | yes | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Sporobolomyces roseus | Sporobolomyces | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Sporobolomyces visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Trichophyton mentagrophytes | Trichophyton | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Trichophyton visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Microsporum gypseum | Microsporum | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Microsporum visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Hortaea werneckii | Hortaea | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Hortaea visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Scytalidium dimidiatum | Scytalidium | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Scytalidium visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Rhizomucor pusillus | Rhizomucor | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Rhizomucor visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Meyerozyma guilliermondii | Meyerozyma | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Meyerozyma visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Candida parapsilosis | Candida | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Candida visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Candida tropicalis | Candida | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Candida visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Rhodotorula mucilaginosa | Rhodotorula | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Rhodotorula visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Debaryomyces hansenii | Debaryomyces | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Debaryomyces visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust
Malassezia furfur | Malassezia | Common indoor | white | gray | powdery | patchy | drywall, wood, dust | bathrooms, basements, HVAC, windows | moderate | 60+ | 15-32 | yes | possible via dust | low to moderate | possible | clean visible growth, correct moisture, remove wet porous materials if extensive | patchy_growth, discoloration, moisture_associated | Malassezia visual group | moderate | common indoor / allergen potential | 24-48 hrs with persistent humidity | air and/or surface depending on context | no | white, gray, powdery, patchy | porous materials preferred; non-porous growth usually on possible via dust

## Summary
Home Health AI Mold Database v7 Full AI Mold Intelligence System – Summary
Executive metrics for Home Health AI / Inspector Gnome.
Total species |  | All homes contain mold spores. The problem is elevated indoor spore levels and/or active colony growth driven by moisture.
Unique genera | 68 | Use moisture + material + visual pattern + lab context together. Never diagnose from color alone.
High moisture species |  | High-moisture molds are stronger indicators of chronic wet conditions.
Moderate moisture species |  | Moderate-moisture molds may appear with humidity, condensation, HVAC, or intermittent leaks.
Low moisture species |  | Low-moisture molds may still matter if amplification or susceptible occupants are present.
Known mycotoxin producers |  | Toxin potential increases priority, but risk communication should stay careful and non-medical.
Warning marker species |  | Marker molds can warn of conditions that support Stachybotrys-like growth.
Visual AI labels |  | Image taxonomy powers computer vision labeling and QA.
Early detection signs |  | Early signs help AI catch issues before visible colonies dominate.
Cleaning agent entries |  | Cleaning guidance should never replace removal of wet, mold-damaged porous materials.
Lab rule rows |  | Lab interpretation rules anchor the app to real-world mold reporting language.
Real lab data rows |  | Real reports improve calibration and reduce overconfident AI claims.
System control scenarios |  | Control scenarios allow quick MVP testing.
Allergenic / Opportunistic | 10
Common indoor
Dry environment mold
Fast-growing indoor
Pathogenic / Water damage mold
Toxigenic
Water damage mold
New in v5 | Moisture-source classification, room-by-room inspection logic, remediation decision framework, and image-label taxonomy.
Primary benefit | Improves AI triage, makes outputs more explainable, and creates training labels your developer can use for computer vision and workflow logic.
Best use | Pair with v4 decision tree and scoring model so the app can identify likely source, room context, recommended next step, and appropriate wording.
Integrated uploaded files | SanAir analysis report example + Lab Information interpretation guide
What was added | Lab Interpretation Rules sheet, Lab Sample Examples sheet, direct-ID scale, background-density logic, and training-safe sample examples.
Note on A3: Counts based on the main Mold Species Database sheet in this workbook.
Note on A4: Genus count uses unique genus labels derived from species_name.

## AI Early Detection Signs
sign_name
Micro-speckling
Moisture halo | circular or irregular stain edge around leak path | drywall, plaster | higher if color gradient present | check leak/condensation
Glossy sheen | localized wet reflective patch | paint, wood, caulk | higher with repeated humidity | reduce RH and inspect source
Texture lift | raised or fuzzy surface compared with adjacent area | wallpaper, drywall | higher if edge is irregular | capture macro image and inspect
Concentric rings | ringed colony structure | window trim, caulk | suggestive for Alternaria-like growth | clean/inspect promptly
Velvet patch | matte velvet-like patch | painted surfaces, wood | common in Cladosporium/Alternaria | confirm moisture and sample if needed
Pink-black streaking | pink or black streaks in condensation zones | window tracks, caulk | common for Aureobasidium-like growth | clean and control condensation
Green powder bloom | fine green dust-like bloom | HVAC dust, insulation | common in Aspergillus/Penicillium patterns | use PPE and HEPA clean
Cottony white growth | soft tufted early growth | cellulose materials | higher concern on wet drywall | remove wet porous material
Dark wet-zone patch | dark patch confined to chronically wet area | subfloors, walls | higher concern if slimy | isolate and assess
Pepper vent spotting | speckling around registers | HVAC diffusers, ceiling | higher if repeated after cleaning | inspect ducts and RH
Bubbling paint | surface deformation with discoloration | painted drywall | not mold alone but strong moisture precursor | open wall if persistent

## Cleaning Agents
agent
Dawn dish soap / detergent
Hydrogen peroxide | light staining and surface disinfection support | tile, grout, some hard surfaces | test fabrics and finished wood first | can lighten staining
Vinegar | mild cleaning where appropriate | tile, glass, some non-stone surfaces | avoid natural stone and incompatible finishes | household option, not a substitute for drying
HEPA vacuum | spore capture during cleanup | dry surfaces and surrounding dust | do not use standard vacuum | best paired with damp wipe
Microfiber damp wipe | final wipe after HEPA removal | non-porous surfaces | avoid oversaturating materials | change cloths frequently
Concrobium or similar | post-cleaning control on some surfaces | framing, sheathing, hard surfaces | follow label; not a shortcut for demolition | commonly used in remediation workflows
Botanical antimicrobial | supplemental cleaning | hard surfaces | not a replacement for moisture control | follow label and ventilation guidance
Enzyme cleaner | organic residue removal | some hard surfaces | avoid if incompatible with finish | use only as directed
Discard and replace | saturated porous materials | drywall, insulation, carpet pad | not applicable | best practice for persistent colonization

## Data Dictionary
field_name
species_name
genus | Genus portion of the scientific name | Aspergillus
common_category | Broad indoor relevance grouping | Water damage mold
primary_color | Typical dominant colony color observed visually | dark green
secondary_color | Secondary or maturing color | black
texture | Surface look such as powdery, velvety, slimy, cottony | powdery
growth_pattern | Typical macro colony form or spread pattern | patchy
common_materials | Materials where growth is commonly observed | drywall, wallpaper, cellulose
common_locations | Typical indoor locations | water damaged walls
moisture_requirement | Low, low-to-moderate, moderate, moderate-to-high, or high moisture need | high
humidity_threshold_percent | Rule-of-thumb RH threshold | 70+
temperature_range_c | Typical growth temperature range in Celsius | 20-30
porous_surface_growth | Whether colonization is common on porous materials | yes
non_porous_surface_growth | Whether growth can occur on dirty hard surfaces | possible via dust
health_risk_category | Practical indoor risk flag, not medical advice | moderate
known_mycotoxin_producer | Whether toxin production is reported for some strains | some strains
remediation_guidance | Simplified cleanup/removal guidance | remove porous materials; correct moisture
ai_visual_tags | Training tags for computer vision labeling | black_colony, slimy_texture
background_spore_presence | Conceptual rule: a normal indoor environment still contains some mold spores. | normal background spores
elevated_indoor_spore_level | Indoor spore level meaningfully above comparison/background levels. | indoor amplification
active_colony_growth | Visible mold growth on a substrate, especially with moisture context. | patchy colony on wet drywall
porous_vs_non_porous_logic | Guidance that mold commonly colonizes porous materials; on hard surfaces it often grows on residue. | tile with soap film
New v4 sheets
AI Decision Tree | Decision path guiding app outputs from screening through escalation | Moisture -> colony texture -> substrate -> output class
Risk Scoring Model | Weighted scoring framework that converts visual/context clues into a normalized risk band | Visible moisture score 4, porous substrate score 5
Inspection Language | Audience-specific wording library for homeowners vs professionals | Homeowner: cautious education; Professional: report-ready framing
New v5 sheets
Moisture Source Classification | Reference table linking visible patterns to likely moisture causes and follow-up steps | Use to infer plumbing vs roof vs HVAC vs condensation vs crawlspace
Room Inspection Logic | Room-specific inspection priorities, false positives, and next-step guidance | Bathroom spotting and attic staining require different logic
Remediation Framework | Monitor/clean/inspect/escalate pathways based on severity, substrate, and recurrence | Supports app workflow and messaging
Image Label Taxonomy | Controlled labels for training image annotations and downstream AI outputs | Creates consistent annotation fields for computer vision
Training Annotation Template | Example row structure with helper formulas for data-labeling workflows | Can be handed to annotators or developers as a starter schema
Lab Interpretation Rules | Condenses lab-report logic for air cassettes, background density, direct ID interpretation, and AI-safe cautions | Supports scoring and user messaging
Lab Sample Examples | Example air and direct-ID results structured as rows for training or QA | Exterior baseline vs interior comparison and direct-ID abundance examples
scenario_id | Unique scenario key used to test scoring engine and output logic. | SCN-001
indoor_outdoor_ratio | Indoor spores/m3 divided by outdoor spores/m3 for the same or nearest comparable group. | 1.9x
risk_band | Human-readable bucket produced by scoring engine. | Elevated
recommended_action | Suggested next step based on score and rule checks. | Professional inspection
visual_group | Grouped AI-safe label when species-level precision is not justified visually. | Aspergillus/Penicillium
water_damage_indicator | Relative value describing how strongly a mold suggests chronic moisture or wet cellulose. | High

## Core Mold Logic
Core Mold Logic for Home Health AI / Inspector Gnome
Important principle: all homes have some mold spores. Concern increases when indoor spore levels are elevated versus normal background and/or when active colonies are growing.
rule_id | rule_name | logic_statement | why_it_matters
ML-01 | Background spores are normal | All homes and buildings contain background mold spores. Spore presence alone does not equal contamination. | Prevents false alarms from normal background ecology.
ML-02 | Elevated spores matter | The concern is elevated indoor spore levels, especially when indoor air is meaningfully higher than outdoor/background comparison. | Helps distinguish normal conditions from likely indoor amplification.
ML-03 | Active colony growth is a problem | Visible mold growth or colonization is more important than simple spore presence. | Colonies indicate moisture plus a growth substrate.
ML-04 | Moisture drives amplification | Mold problems require moisture, a food source, and time. | Focuses the AI on leaks, condensation, and chronic dampness.
ML-05 | Porous materials support colonization | Drywall, carpet, insulation, ceiling tile, paper, and wood are common indoor growth substrates. | Improves material-aware risk scoring.
ML-06 | Non-porous surfaces usually host residue growth | When mold appears on glass, tile, metal, or plastic, it is often growing on dust, soap film, or organic residue rather than the surface itself. | Improves explanation quality and cleaning guidance.
ML-07 | Single-species dominance can signal a source | A strongly dominant indoor genus/species compared with background may indicate an indoor growth reservoir. | Useful for interpretation of air-sampling patterns.
ML-08 | Visual evidence should be tied to moisture context | Water stains, bubbling paint, fuzzy edges, and patch growth near wet zones raise confidence of active colonization. | Supports early visual detection rules.
ML-09 | Diagnosis should be framed carefully | AI should report possible active growth, elevated risk, or need for inspection—not claim medical or lab diagnosis from photos alone. | Keeps output credible and safer for users.
ML-10 | Remediation targets source control | Successful cleanup requires moisture correction, source removal, and proper cleaning—not surface treatment alone. | Prevents ineffective advice.

## Interpretation Examples
scenario
Normal background spores
Possible indoor amplification | Aspergillus/Penicillium notably higher indoors than outdoors | Lower outdoor baseline | Possible indoor source; inspect HVAC, wet wall cavities, and dust reservoirs.
Visible colony on wet drywall | Patchy/slimy/fuzzy colony near leak staining | Outdoor comparison not needed for visual concern | Active growth likely; correct moisture and remove contaminated porous material.
Growth on tile or glass | Visible spots on a hard surface with soap film or dust | Outdoor comparison not needed for surface explanation | Likely growth on residue, not the tile/glass itself; clean residue and control moisture.

## AI Decision Tree
Home Health AI – AI Decision Tree
Use this logic to decide whether the app should reassure, monitor, recommend inspection, or recommend remediation language.
Step | Decision Question | If Yes | If No | AI Output Class | Notes
1 | Is there a visible moisture indicator (stain, halo, sheen, bubbling, condensation)? | Go to Step 2 | Go to Step 3 | Screening | Moisture raises concern even before clear mold texture appears.
2 | Is there visible colony texture (fuzzy, powdery, slimy, patchy, irregular edge)? | Go to Step 4 | Output = Moisture Concern | Visual Triage | Moisture without visible colony may still warrant monitoring or inspection.
3 | No obvious moisture. Is the area showing isolated light residue on a hard surface only? | Output = Surface Residue / Monitor | Output = Low Visual Evidence | Reassure / Monitor | Do not overcall contamination without moisture or growth indicators.
4 | Is the affected surface porous or cellulose-based (drywall, wood, carpet, ceiling tile, insulation)? | Go to Step 5 | Go to Step 6 | Substrate Logic | Active colonization is more significant on porous materials.
5 | Is the growth area larger than a small isolated spot OR recurring after cleaning? | Output = Elevated Concern | Go to Step 7 | Escalation | Recurring growth suggests ongoing moisture or hidden amplification.
6 | On hard surface only: is dust, soap film, or organic residue likely present? | Output = Residue-Supported Growth | Output = Needs Human Review | Surface Interpretation | Mold may be feeding on residue, not the non-porous substrate itself.
7 | Are there multiple indicators together (moisture + colony + odor + recurring issue + occupant complaint)? | Output = High Concern | Output = Moderate Concern | Risk Band | Combined indicators should raise the model’s confidence and recommendation strength.
Output Class | Recommended App Response | Confidence Direction | Suggested CTA
Low Visual Evidence | No clear visual signs of active growth. Encourage moisture prevention and re-check if changes occur. | Low | Monitor and retake photos if area changes
Surface Residue / Monitor | Visible spotting may reflect residue or surface contamination rather than active colonization. | Low–Moderate | Clean residue, reduce humidity, observe recurrence
Moisture Concern | Visible moisture conditions can support future growth even if a colony is not clearly visible yet. | Moderate | Inspect leak or condensation source
Residue-Supported Growth | Visible growth may be occurring on dust, soap film, or organic buildup on a hard surface. | Moderate | Clean residue thoroughly and control moisture
Moderate Concern | Visible patterns are consistent with possible active growth and warrant closer inspection. | Moderate–High | Schedule targeted inspection
Elevated Concern | Patterns suggest likely active growth associated with moisture and a favorable substrate. | High | Inspect promptly; consider limited containment precautions
High Concern | Multiple indicators strongly suggest active indoor amplification and/or ongoing colony growth. | High | Professional inspection and moisture correction recommended
Needs Human Review | Image evidence is mixed or insufficient for a reliable classification. | Variable | Collect more images / in-person review

## Risk Scoring Model
Home Health AI – Weighted Risk Scoring Model
Enter 0–5 scores in the blue cells. Formulas calculate weighted risk, confidence, and suggested inspection posture.
Factor | What it means | Weight | Input Score (0–5) | Weighted Score | Max Weighted | Professional interpretation | Comment
Visible moisture | Leaks, staining, halos, condensation, or wet sheen | 5 | 0 |  |  | Higher moisture = stronger colonization potential
Visible colony texture | Fuzzy, powdery, slimy, patchy, irregular edge | 5 | 0 |  |  | Texture is one of the strongest visual indicators
Porous substrate | Drywall, carpet, wood, insulation, ceiling tile | 4 | 0 |  |  | Porous materials increase active-growth concern
Area size / spread | Larger or expanding growth footprint | 4 | 0 |  |  | Bigger or spreading areas raise urgency
Recurrence after cleaning | Returns after wipe-down or prior treatment | 5 | 0 |  |  | Recurrence suggests ongoing moisture or hidden source
Odor / complaint signal | Musty odor, respiratory complaint, occupant concern | 3 | 0 |  |  | Supportive but not diagnostic on its own
Indoor > outdoor signal | Air sample or field evidence suggests indoor amplification | 5 | 0 |  |  | Useful when spore data exists
Hard-surface residue only | Spots only on tile/glass/metal with soap film or dust | -3 | 0 |  |  | This should reduce the score when residue explains the image
Total weighted score |  |  | Scenario | Sample score | Interpretation | Use case
Maximum possible score |  |  | Dry tile spotting only | Low–Guarded | Often residue-supported, especially without moisture source | Bathroom hard surface
Normalized risk % |  |  | Wet drywall with texture lift | Elevated–High | Moisture plus porous material plus visible texture | Leak-related room
Risk band |  |  | Musty odor + recurring closet spotting | Moderate–High | Recurring pattern raises suspicion of hidden source | Closet or HVAC adjacent wall
Suggested action |  |  | No texture, no moisture, faint discoloration | Low | Visual evidence weak; monitor and retake images | General screening
Homeowner wording strength
Professional wording strength
Note on D5: User-editable input. Score 0=None, 1=Very low, 2=Low, 3=Moderate, 4=High, 5=Very high.
Note on D6: User-editable input. Score 0=None, 1=Very low, 2=Low, 3=Moderate, 4=High, 5=Very high.
Note on D7: User-editable input. Score 0=None, 1=Very low, 2=Low, 3=Moderate, 4=High, 5=Very high.
Note on D8: User-editable input. Score 0=None, 1=Very low, 2=Low, 3=Moderate, 4=High, 5=Very high.
Note on D9: User-editable input. Score 0=None, 1=Very low, 2=Low, 3=Moderate, 4=High, 5=Very high.
Note on D10: User-editable input. Score 0=None, 1=Very low, 2=Low, 3=Moderate, 4=High, 5=Very high.
Note on D11: User-editable input. Score 0=None, 1=Very low, 2=Low, 3=Moderate, 4=High, 5=Very high.
Note on D12: User-editable input. Score 0=None, 1=Very low, 2=Low, 3=Moderate, 4=High, 5=Very high.

## Inspection Language
Home Health AI – Inspection Language by Audience
Separate homeowner language from professional language so the app stays accurate, calm, and credible.
Situation | Audience | Recommended wording | Avoid wording | Purpose | Example app message
No clear evidence | Homeowner | No clear visual signs of active mold growth are visible in this image. | You definitely do not have mold. | Avoid false certainty | We do not see strong visual evidence of active growth in this photo. Keep the area dry and recheck if it changes.
No clear evidence | Professional | Image does not show strong visual indicators of active colonization at this time. | No mold present. | Preserve professional caution | Visual evidence is limited; continue routine moisture control and reassess if conditions change.
Hard surface spotting | Homeowner | This pattern may be surface residue or growth supported by dust/soap film on a hard surface. | The tile itself is moldy. | Teach substrate logic | These spots may be feeding on residue rather than the tile or glass itself. Clean thoroughly and reduce moisture.
Hard surface spotting | Professional | Appearance is consistent with residue-supported growth on a non-porous surface, pending site context. | Confirmed colonization of non-porous substrate. | Use precise technical framing | Non-porous substrate involvement appears secondary to residue loading; confirm with field context.
Moisture without visible colony | Homeowner | Moisture conditions are present and may support future mold growth. | There is mold here. | Flag risk without overcalling | We see moisture-related warning signs. Address the leak or humidity source and monitor for changes.
Moisture without visible colony | Professional | Moisture indicators are present; visual evidence of active growth is not yet definitive. | Active mold confirmed. | Separate conditions from diagnosis | Conditions are favorable for colonization; inspect source and monitor for progression.
Possible active growth | Homeowner | This image shows patterns that may be consistent with active mold growth. | This is toxic mold. | Maintain caution and avoid medical/legal overreach | The visible texture and moisture pattern raise concern for active growth. A targeted inspection is recommended.
Possible active growth | Professional | Visual findings are consistent with possible active fungal colonization associated with moisture intrusion. | Confirmed toxigenic contamination from image alone. | Use report-ready wording | Findings warrant site inspection, moisture mapping, and substrate evaluation.
High concern / recurring issue | Homeowner | Multiple warning signs suggest this issue should be inspected promptly by a qualified professional. | Your house is unsafe. | Create urgency without fear language | Because the issue appears recurrent and moisture-related, professional inspection is recommended.
High concern / recurring issue | Professional | Combined indicators raise concern for active amplification and a persistent moisture source. | Building-wide contamination confirmed. | Escalate appropriately | Recommend moisture correction, source investigation, and remediation scope based on field findings.

## Moisture Source Classification
Home Health AI – Moisture Source Classification
Use this sheet to classify likely moisture causes behind visible mold or moisture signatures. The AI should infer source likelihood, not overstate certainty.
Source Type | Typical Indicators | Common Rooms | Visual Clues | Risk Pattern | Likely Hidden? | Suggested AI Output | Professional Follow-up
Plumbing leak | Localized wetness, recurring moisture near supply/drain lines | Bathrooms, kitchens, laundry, under sinks | Cabinet base swelling, repeated spotting below fixtures, staining around penetrations | Persistent if leak remains active | High | Possible plumbing-related moisture source | Inspect supply lines, traps, shutoffs, wall cavity if recurring
Roof leak | Ceiling/wall staining after rain, attic-side dampness | Attics, upper ceilings, exterior-adjacent walls | Brown/yellow halos, ceiling texture damage, vertical drip paths | Can worsen seasonally | Moderate-High | Possible roof or flashing intrusion | Inspect roof assembly, attic decking, penetrations, flashing
HVAC condensation | Growth around vents, air handler, drain pans, ducts | Closets, mechanical rooms, ceilings near vents | Black spotting near register boots, condensation sheen, rust marks | Often chronic if drainage/insulation poor | Moderate-High | Possible HVAC condensation source | Check drain pans, line clogs, duct insulation, humidity control
Humidity / condensation | Diffuse spotting on cool surfaces, windows, corners | Bathrooms, bedrooms, exterior walls, closets | Uniform spotting, window track moisture, cold-corner growth | Often seasonal and room-wide | Moderate | High indoor humidity / condensation likely | Check ventilation, RH, thermal bridging, occupant habits
Ground / crawlspace moisture | Lower-wall dampness, musty odor, subfloor concerns | Crawlspaces, lower walls, first-floor closets | Baseboard staining, floor-edge cupping, insulation discoloration | Can spread broadly over time | High | Possible ground moisture or crawlspace contribution | Inspect vapor barrier, drainage, vents, subfloor moisture
Flood / bulk water event | Rapid wetting history, broad material impact | Any room after intrusion | Water line, warped materials, staining and debris patterns | High acute risk | Variable | Past bulk-water event may explain growth conditions | Determine event history, material replacement scope, drying verification
Window / envelope intrusion | Localized staining below windows or exterior penetrations | Bedrooms, living rooms, exterior-facing walls | Streaking below sill, trim swelling, localized drywall discoloration | May recur with weather | Moderate | Possible envelope or window intrusion | Inspect sealants, flashing, cladding transitions
Unknown / mixed | Multiple possible indicators with weak source confidence | Any | Mixed evidence | Needs contextual review | Unknown | Moisture source unclear from image alone | Use site history, moisture mapping, and more images

## Room Inspection Logic
Home Health AI – Room-by-Room Inspection Logic
Use this sheet to tailor AI recommendations to the room context. The same visual pattern can mean different things in a bathroom than in an attic or crawlspace.
Room / Area | Primary Risk Drivers | High-Value Checkpoints | Common False Positives | Escalation Triggers | Homeowner Language | Professional Language | Suggested Next Step | Priority
Bathroom | Humidity, shower condensation, plumbing leaks | Caulk lines, grout, vanity base, toilet seal area, exhaust fan performance | Soap film, mildew on residue, cosmetic staining | Recurring spotting, bubbling drywall, sub-sink moisture | This area often has humidity-related spotting. Improve drying and check for leaks. | Bathroom conditions favor condensation-related growth; evaluate ventilation and concealed plumbing. | Check RH, fan, caulk/grout, plumbing under vanity | Moderate
Kitchen | Sink leaks, dishwasher leaks, icemaker line, poor ventilation | Under sink, behind dishwasher, refrigerator line, backsplash penetrations | Food splatter, grease film, old staining | Recurring cabinet-base swelling, odor, hidden leak history | Kitchen moisture can come from plumbing or appliance lines. Recurring spots should be checked. | Inspect for active or intermittent plumbing/appliance leaks and substrate impact. | Inspect appliance lines and cabinet base; retake images after cleaning | Moderate-High
Laundry | Washer hoses, drain overflow, dryer humidity | Supply hoses, drain standpipe, behind washer, wall base | Detergent residue, lint buildup | Recurring dampness, floor edge damage, musty closet-like odor | Laundry areas can stay damp from hoses or drainage problems. | Assess intermittent discharge, hose integrity, drain overflow risk, and adjacent material wetting. | Inspect hoses, drain line, pan, nearby drywall and flooring | Moderate-High
Bedroom | Window condensation, exterior-wall intrusion, closet stagnation | Window sills, exterior corners, closet walls | Dust, scuffs, shadowing | Cold-corner spotting, repeated window moisture, occupant complaint | Bedrooms can collect condensation on cooler walls or around windows. | Differentiate condensation patterns from envelope intrusion and evaluate closet airflow. | Check windows, RH, airflow, exterior wall temperature | Moderate
Closet | Low airflow, humidity, exterior wall cooling, hidden leaks | Back walls, corners, ceiling-wall joints, adjacent plumbing walls | Dust, fabric transfer, shelf scuffs | Musty odor, recurring back-wall spotting, adjacent bathroom wall | Closets can trap moisture because air does not move well. | Low-airflow space with possible condensation or concealed wall-source contribution. | Improve airflow; inspect adjacent wet walls if recurring | Moderate-High
Attic | Roof intrusion, duct sweating, poor ventilation | Roof decking, insulation, penetrations, duct boots | Old staining, dirt, wood discoloration not microbial | Fresh staining, wet decking, chronic vent-area growth | Attic staining may relate to roof leaks or ventilation issues. | Differentiate historic staining from active wetting; inspect decking moisture and ventilation balance. | Inspect after rain if possible; check ducts and vents | High
Crawlspace | Ground moisture, vapor barrier failure, drainage | Subfloor, joists, insulation, perimeter walls | Soil staining, dirt, construction residue | Musty odor, wood moisture, broad fungal growth pattern | Crawlspaces can hold moisture from the ground for long periods. | Assess vapor control, drainage, ventilation, and structural wood moisture. | Inspect vapor barrier and wood moisture; consider professional crawlspace review | High
HVAC / Mechanical | Condensate leaks, drain pan issues, duct insulation | Air handler, drain lines, plenums, nearby drywall | Dust accumulation, rust, normal grime | Repeated vent spotting, pan overflow, line clogs | Mechanical areas can support growth when condensation is not draining correctly. | Evaluate condensate management, insulation, and localized amplification near supply paths. | Inspect drain pan, line, insulation, surrounding surfaces | High

## Remediation Framework
Home Health AI – Remediation Decision Framework
This framework helps the app distinguish between monitor/clean/escalate pathways. It does not replace a field scope or standard of care.
Scenario | Visual Severity | Substrate Type | Moisture Status | Recurrence | Suggested Path | Homeowner Message | Professional Message | Notes / Limits
Light spotting on hard surface only | Low | Non-porous with residue | No active wetness visible | No | Clean + monitor | Clean the surface thoroughly and watch for return after moisture is controlled. | Likely residue-supported growth; confirm no hidden moisture. | Do not imply substrate colonization from image alone.
Localized spotting on porous material | Moderate | Porous | Possible or prior wetness | Unknown | Targeted inspection | Visible patterns may reflect active growth on an absorbent material. A closer inspection is recommended. | Possible active colonization on porous substrate; inspect source and extent. | Porous materials raise concern even with small visible area.
Recurring growth after cleaning | Moderate-High | Any | Likely ongoing | Yes | Escalate to source investigation | Because the issue keeps returning, the moisture source may still be present. | Recurrence suggests unresolved moisture and possible concealed growth. | Recurrence should materially raise model concern.
Widespread growth + moisture evidence | High | Porous or mixed | Active or likely active | Yes/Unknown | Professional inspection / remediation-oriented pathway | Multiple signs suggest a larger moisture-related issue that should be inspected promptly. | Combined indicators raise concern for active amplification and remediation scoping. | Avoid exact square-foot claims from image alone.
Historic stain without current texture | Low-Moderate | Any | No clear active wetness | No | Monitor / verify history | This may be older staining, but the area should be watched for changes or dampness. | Historic impact possible; verify no current wetting or active colonization. | Encourage follow-up images and history questions.
HVAC vent spotting with condensation signs | Moderate-High | Mixed | Likely active condensation | Often recurring | Inspect mechanical source | This pattern may be related to condensation around the HVAC system. | Evaluate drain, insulation, register boot, and nearby moisture conditions. | Mechanical review often more important than surface cleaning alone.

## Image Label Taxonomy
Home Health AI – Image Label Taxonomy
Use consistent labels for training images so the model can learn visual features, room context, substrate logic, and recommendation pathways.
Label Group | Field Name | Allowed Values / Examples | Purpose | Example Annotation | Data Type | Input or Derived | AI Relevance | Review Note | Source / Context
Image metadata | image_id | unique file ID | Track image across model pipeline | IMG_000123 | Text | Input | High | Required for joins | upload system
Scene context | room_type | bathroom, kitchen, attic, crawlspace, closet, bedroom, laundry, hvac | Add environmental context | bathroom | Categorical | Input | High | Use controlled list | annotator
Substrate | surface_type | drywall, wood, carpet, insulation, tile, metal, glass, plastic | Apply porous vs non-porous logic | drywall | Categorical | Input | High | Controlled vocabulary | annotator
Moisture signal | moisture_visible | 0/1 | Flag visible wetness or sheen | 1 | Binary | Input | High | Needs image evidence | annotator
Visual feature | texture_type | fuzzy, powdery, slimy, dust-like, none | Help classify colony type | fuzzy | Categorical | Input | High | Use best-fit single label if needed | annotator
Visual feature | edge_pattern | circular, diffuse, irregular, linear, speckled | Describe growth geometry | irregular | Categorical | Input | High | Can be multi-label in future | annotator
Visual feature | color_profile | black, green, brown, gray, white, yellow, mixed | Support CV learning | mixed | Categorical | Input | Medium-High | Use dominant visible colors | annotator
Coverage | coverage_band | trace, small, moderate, broad | Approximate severity without exact area claim | small | Ordinal | Derived | Medium | Avoid exact sqft from image | model/annotator
Source inference | likely_source | plumbing, roof, hvac, condensation, crawlspace, unknown | Connect image to probable moisture cause | condensation | Categorical | Derived | High | Inference only, not certainty | model
App output | risk_band | low, guarded, moderate, elevated, high | Standardize response language | moderate | Ordinal | Derived | High | Should align with scoring sheet | model
App output | next_step | monitor, clean, inspect, escalate | Power workflow and CTA | inspect | Categorical | Derived | High | Map to decision tree | model

## Training Annotation Template
Home Health AI – Training Annotation Template
Fill blue cells for each training image. Derived columns calculate basic flags and route toward app output classes.
image_id | room_type | surface_type | moisture_visible (0/1) | texture_type | edge_pattern | color_profile | recurring_issue (0/1) | odor_reported (0/1) | likely_source | derived_substrate_flag | derived_attention_flag
IMG_001 | bathroom | tile | 1 | speckled | diffuse | black | 0 | 0 | condensation
IMG_002 | closet | drywall | 1 | fuzzy | irregular | mixed | 1 | 1 | unknown
IMG_003 | hvac | metal | 1 | dust-like | linear | black | 1 | 1 | hvac
IMG_004 | attic | wood | 1 | powdery | patchy | brown | 0 | 0 | roof

## Lab Interpretation Rules
Home Health AI – Lab Interpretation Rules
Condensed rules from the uploaded lab report and interpretation guide for safer AI screening outputs.
Section | Topic | Lab rule / interpretation | AI implication | Example app language | Source file
Air cassette logic | Non-viable spore trap | Air-O-Cell / spore-trap analysis identifies and counts airborne spores by microscopy; it does not culture viability. | Do not claim a photo or air sample proves a live colony without context. | Air data can suggest amplification, but viability and source confirmation may require more inspection. | Lab Information.pdf
Air cassette logic | Indoor vs outdoor comparison | Indoor air is commonly interpreted against an exterior/baseline sample; elevated indoor counts and/or unusual dominance can suggest indoor amplification. | Use comparison logic when air data exists; avoid calling contamination from a single raw number alone. | Indoor levels above baseline can increase concern for indoor amplification. | Lab Information.pdf
Air cassette logic | Count per m³ | Count per cubic meter is calculated from raw count adjusted for sampled air volume. | Store both raw count and count/m³ when using lab examples or QA data. | Standardized count/m³ helps compare samples collected at different volumes. | 21056763_Jaunich_20211020173423.pdf
Air cassette logic | Background debris / density | Higher debris can occlude small spores and make undercounting more likely. | Lower AI confidence when lab notes show heavy background or visibility issues. | Heavy background can hide smaller spores, so findings may under-represent the true load. | Both uploaded PDFs
Air cassette logic | Rain / humidity shift outdoor profile | Rain or high humidity may depress some outdoor spores while increasing ascospores / basidiospores. | Do not over-interpret a wet-day baseline without weather context. | Weather can shift outdoor fungal profiles, especially ascospores and basidiospores. | Lab Information.pdf
Water-damage thresholds | High-moisture indicators | Stachybotrys and Chaetomium are treated as strong water-damage indicators even at relatively low counts. | Escalate concern when these appear with moisture evidence or porous substrates. | Water-damage indicator molds deserve more attention even at lower counts. | 21056763_Jaunich_20211020173423.pdf
Grouping logic | Aspergillus/Penicillium grouping | Small round spores are often reported together on non-viable samples; similar-looking fungi can also fall in that grouped bucket. | Use AI visual groups to avoid false precision from photos or non-viable microscopy. | Some molds look too similar to separate confidently without reproductive structures. | Both uploaded PDFs
Direct ID logic | Evidence-of-growth scale | Direct-ID uses rare / light / moderate / heavy to estimate possible growth based on mycelia and conidiophores. | Map this to confidence and next-step language instead of medical claims. | Surface evidence can be described as limited, possible, probable, or significant growth. | 21056763_Jaunich_20211020173423.pdf
Safety framing | Screening vs diagnosis | Lab reports explicitly avoid declaring building safety from lab data alone. | Keep the app in screening / triage mode, not medical or definitive diagnosis mode. | This tool screens for concern and helps decide whether inspection is warranted. | Both uploaded PDFs
Background Density Scale
Density | Amount of particulate on slide | Interpretation | Occlusion risk | AI confidence adjustment | Source file
1 | Insignificant | Should not skew counts | Minimal | No penalty | 21056763_Jaunich_20211020173423.pdf
1+ | Low | Should not skew counts | Low | No penalty | 21056763_Jaunich_20211020173423.pdf
2 | Low to moderate | Should not skew counts | Low | Small caution only | 21056763_Jaunich_20211020173423.pdf
2+ | Moderate to high | May occlude small spores | Moderate | Lower confidence slightly | 21056763_Jaunich_20211020173423.pdf
3 | High | May occlude small to medium spores | High | Lower confidence | 21056763_Jaunich_20211020173423.pdf
3+ | Very high | Will occlude spores | Very high | Strong confidence penalty | 21056763_Jaunich_20211020173423.pdf
4 | Overloaded | Too much particulate to perform analysis | Extreme | Treat as unreadable / inconclusive | 21056763_Jaunich_20211020173423.pdf
Direct ID Evidence-of-Growth Scale
Estimated amount | Growth indication | Evidence on sample | Suggested app wording | Escalation posture | Source file
Rare | Not likely | No associated mycelial fragments / conidiophores | Trace evidence only; below clear contamination level | Monitor / inspect if recurring | 21056763_Jaunich_20211020173423.pdf
Light | Possible | Some evidence, about 10–25% of tape covered | Possible active growth | Recommend closer inspection | 21056763_Jaunich_20211020173423.pdf
Moderate | Probable | Abundant evidence, about 25–50% of tape covered | Probable active growth | Professional inspection / remediation discussion | 21056763_Jaunich_20211020173423.pdf
Heavy | Significant | Throughout sample, about 50–100% covered | Significant active growth likely | Escalate strongly | 21056763_Jaunich_20211020173423.pdf
Note on F5: Source: /mnt/data/Lab Information.pdf and /mnt/data/21056763_Jaunich_20211020173423.pdf

## Lab Sample Examples
Home Health AI – Lab Sample Examples
Structured examples from uploaded SanAir and AEMTEK reports for AI QA, messaging tests, and baseline-vs-interior interpretation.
Air Sample Example Rows
sample_id | sample_location | sample_type | volume_l | background_density | organism | raw_count | count_per_m3 | percent_of_total | ai_interpretation_note
21056763-001 | Exterior | Air-O-Cell | 75 | 2 | Alternaria species | 2 | 27 | <1% | Exterior baseline outdoor-type detection
21056763-001 | Exterior | Air-O-Cell | 75 | 2 | Ascospores | 882 | 11760 | 99% | Exterior baseline dominated by ascospores
21056763-001 | Exterior | Air-O-Cell | 75 | 2 | Chaetomium species | 2 | 27 | <1% | Low-count water-damage indicator outdoors
21056763-001 | Exterior | Air-O-Cell | 75 | 2 | Cladosporium species | 5 | 67 | <1% | Common outdoor allergen baseline
21056763-001 | Exterior | Air-O-Cell | 75 | 2 | Non-specified spore | 1 | 13 | <1% | Unspecified trace morphology
21056763-002 | Entry | Air-O-Cell | 75 | 3+ | Alternaria species | 1 | 13 | <1% | Trace indoor alternaria
21056763-002 | Entry | Air-O-Cell | 75 | 3+ | Ascospores | 1 | 13 | <1% | Very low ascospores indoors
21056763-002 | Entry | Air-O-Cell | 75 | 3+ | Basidiospores | >12000 | >160000 | >99% | Heavy indoor basidiospore dominance with very high background
21056763-002 | Entry | Air-O-Cell | 75 | 3+ | Cladosporium species | 1 | 13 | <1% | Trace cladosporium indoors
21056763-003 | TV Area | Air-O-Cell | 75 | 3+ | Basidiospores | >12000 | >160000 | >99% | Heavy indoor basidiospore dominance with very high background
Direct ID Example Rows
sample_id | sample_location | sample_material_type | organism_group | estimated_amount | growth_indication | evidence_note | ai_interpretation_note | source_file | project_name
21056763-004 | Exterior Side | Bulk material | Aspergillus/Penicillium | Rare | Not likely | No clear mycelial / conidiophore evidence threshold | Trace fungal evidence on bulk material | 21056763_Jaunich_20211020173423.pdf | Jaunich
21056763-004 | Exterior Side | Bulk material | Basidiospores | Moderate | Probable | Abundant evidence range | Probable growth evidence on sampled material | 21056763_Jaunich_20211020173423.pdf | Jaunich
21056763-005 | Wall At Beam | Bulk material | Aspergillus/Penicillium | Light | Possible | Some evidence range | Possible growth on bulk sample from beam area | 21056763_Jaunich_20211020173423.pdf | Jaunich
21056763-005 | Wall At Beam | Bulk material | Basidiospores | Light | Possible | Some evidence range | Possible growth on bulk sample from beam area | 21056763_Jaunich_20211020173423.pdf | Jaunich
21056763-006 | Beam Inside | Bulk material | Basidiospores | Heavy | Significant | Throughout sample | Significant growth evidence on beam sample | 21056763_Jaunich_20211020173423.pdf | Jaunich
21056763-007 | Window | Bulk material | Basidiospores | Moderate | Probable | Abundant evidence range | Probable growth evidence on window sample | 21056763_Jaunich_20211020173423.pdf | Jaunich
21056763-007 | Window | Bulk material | Cladosporium species | Rare | Not likely | No clear mycelial / conidiophore evidence threshold | Trace cladosporium evidence on window sample | 21056763_Jaunich_20211020173423.pdf | Jaunich
AEMTEK Air Sample Example Rows
sample_id | sample_location | sample_type | volume_l | background_density | organism | raw_count | count_per_m3 | percent_of_total | ai_interpretation_note
23671241 | Downstairs Bedroom | Spore Slit Impaction Cassette | 75 | 26-50% | Aspergillus/Penicillium-like | 7 | 91 | 44% | Indoor dominant genus but still below total outdoor load
23671140 | Downstairs Bathroom | Spore Slit Impaction Cassette | 75 | 51-75% | Aspergillus/Penicillium-like | 19 | 247 | 25% | Bathroom A/P-like is higher than outdoor A/P-like and merits concern
23671140 | Downstairs Bathroom | Spore Slit Impaction Cassette | 75 | 51-75% | Stachybotrys | 2 | 26 | 3% | Even low Stachybotrys counts indoors should elevate caution
23671229 | Outside (ambient) | Spore Slit Impaction Cassette | 75 | 51-75% | Cladosporium | 39 | 507 | 22% | Outdoor baseline reference
Note on J6: Sources: /mnt/data/21056763_Jaunich_20211020173423.pdf and /mnt/data/Lab Results - 1701206.pdf

## Control Center
Home Health AI – Control Center
Editable scenarios for testing the scoring engine and app logic.
scenario_id | scenario_name | indoor_total_spores_m3 | outdoor_total_spores_m3 | dominant_group | marker_mold_present | mycotoxin_producer_present | visible_growth_present | porous_material_wet | humidity_percent | occupant_sensitivity | recommended_action_target
SCN-001 | Clean baseline interior | 220 | 1800 | Cladosporium | No | No | No | No | 48 | Standard | Monitor / educate
SCN-002 | Possible bathroom amplification | 988 | 2314 | Aspergillus/Penicillium-like | Yes | Yes | Yes | Yes | 68 | Sensitive | Professional inspection
SCN-003 | High concern water-damage pattern | 16053 | 11893 | Basidiospores + water-damage indicators | Yes | Yes | Yes | Yes | 75 | Sensitive | Contain + inspect
SCN-004 | Humidity-driven but low visible concern | 520 | 1100 | Cladosporium | No | No | No | No | 61 | Standard | Dry / monitor
SCN-005 | Questionable photo-only colony | 0 | 0 | Unknown | No | Unknown | Yes | Unknown | 65 | Sensitive | Photo QA / schedule inspection

## Real Lab Data Training
Home Health AI – Real Lab Data Training
Normalized rows from uploaded SanAir and AEMTEK reports for model calibration and QA.
source_report | report_id | sample_id | sample_location | indoor_or_outdoor | sample_method | air_volume_l | background_or_density | temperature_f | humidity_percent | spore_type | raw_count | spores_per_m3 | percent_of_total | ai_visual_group | water_damage_indicator | count_vs_outdoor_ratio | rule_based_interpretation | source_file | source_note
SanAir | 21056763 | 21056763-001 | Exterior | Outdoor | Air-O-Cell | 75 | 2 |  |  | Alternaria species | 2 | 27 | <1% | Alternaria | Low | 1 | Exterior baseline outdoor-type detection | 21056763_Jaunich_20211020173423.pdf | Page 3 exterior baseline
SanAir | 21056763 | 21056763-001 | Exterior | Outdoor | Air-O-Cell | 75 | 2 |  |  | Ascospores | 882 | 11760 | 99% | Ascospores | Low | 1 | Exterior baseline dominated by ascospores | 21056763_Jaunich_20211020173423.pdf | Page 3
SanAir | 21056763 | 21056763-001 | Exterior | Outdoor | Air-O-Cell | 75 | 2 |  |  | Chaetomium species | 2 | 27 | <1% | Chaetomium | High | 1 | Low-count outdoor water-damage indicator | 21056763_Jaunich_20211020173423.pdf | Page 3
SanAir | 21056763 | 21056763-001 | Exterior | Outdoor | Air-O-Cell | 75 | 2 |  |  | Cladosporium species | 5 | 67 | <1% | Cladosporium | Low | 1 | Typical outdoor background genus | 21056763_Jaunich_20211020173423.pdf | Page 3
SanAir | 21056763 | 21056763-002 | Entry | Indoor | Air-O-Cell | 75 | 3+ |  |  | Ascospores | 1 | 13 | <1% | Ascospores | Low | 0.0011054 | Trace indoor ascospores below baseline | 21056763_Jaunich_20211020173423.pdf | Page 3
SanAir | 21056763 | 21056763-002 | Entry | Indoor | Air-O-Cell | 75 | 3+ |  |  | Basidiospores | 12000 | 160000 | >99% | Basidiospores | Moderate |  | Indoor dominated by basidiospores with overloaded profile | 21056763_Jaunich_20211020173423.pdf | Page 3 estimated >12,000 raw count
SanAir | 21056763 | 21056763-002 | Entry | Indoor | Air-O-Cell | 75 | 3+ |  |  | Cladosporium species | 1 | 13 | <1% | Cladosporium | Low | 0.19403 | Indoor cladosporium lower than outdoor baseline | 21056763_Jaunich_20211020173423.pdf | Page 3
SanAir | 21056763 | 21056763-003 | TV Area | Indoor | Air-O-Cell | 75 | 3+ |  |  | Basidiospores | 12000 | 160000 | >99% | Basidiospores | Moderate |  | TV area sample overwhelmed by basidiospores | 21056763_Jaunich_20211020173423.pdf | Page 3 estimated >12,000 raw count
SanAir | 21056763 | 21056763-004 | Exterior Side | Surface | Bulk Material |  |  |  |  | Aspergillus/Penicillium |  |  | Rare | Aspergillus/Penicillium | Moderate |  | Direct ID: rare possible growth on bulk material | 21056763_Jaunich_20211020173423.pdf | Page 4
SanAir | 21056763 | 21056763-005 | Wall At Beam | Surface | Bulk Material |  |  |  |  | Aspergillus/Penicillium |  |  | Light | Aspergillus/Penicillium | Moderate |  | Direct ID: light possible growth | 21056763_Jaunich_20211020173423.pdf | Page 4
SanAir | 21056763 | 21056763-006 | Beam Inside | Surface | Bulk Material |  |  |  |  | Basidiospores |  |  | Heavy | Basidiospores | Moderate |  | Direct ID: heavy probable/significant growth evidence | 21056763_Jaunich_20211020173423.pdf | Page 4
SanAir | 21056763 | 21056763-007 | Window | Surface | Bulk Material |  |  |  |  | Cladosporium species |  |  | Rare | Cladosporium | Low |  | Direct ID: rare visible growth evidence | 21056763_Jaunich_20211020173423.pdf | Page 4
AEMTEK | 1701206 | 23671241 | Downstairs Bedroom | Indoor | Spore Slit Impaction Cassette | 75 | 26-50% | 64 | 47 | Aspergillus/Penicillium-like | 7 | 91 | 44% | Aspergillus/Penicillium | Moderate | 0.7 | Indoor A/P-like exceeds 50% of outdoor level | Lab Results - 1701206.pdf | Page 2 + chain of custody page 3
AEMTEK | 1701206 | 23671241 | Downstairs Bedroom | Indoor | Spore Slit Impaction Cassette | 75 | 26-50% | 64 | 47 | Cladosporium | 5 | 65 | 31% | Cladosporium | Low | 0.12821 | Indoor cladosporium well below outdoor baseline | Lab Results - 1701206.pdf | Page 2
AEMTEK | 1701206 | 23671140 | Downstairs Bathroom | Indoor | Spore Slit Impaction Cassette | 75 | 51-75% | 68 | 42 | Aspergillus/Penicillium-like | 19 | 247 | 25% | Aspergillus/Penicillium | Moderate | 1.9 | Bathroom A/P-like almost 2x outdoor level | Lab Results - 1701206.pdf | Page 2 + page 3
AEMTEK | 1701206 | 23671140 | Downstairs Bathroom | Indoor | Spore Slit Impaction Cassette | 75 | 51-75% | 68 | 42 | Stachybotrys | 2 | 26 | 3% | Stachybotrys | High |  | Low-count Stachybotrys indoors warrants high caution due to water-damage significance | Lab Results - 1701206.pdf | Page 2
AEMTEK | 1701206 | 23671140 | Downstairs Bathroom | Indoor | Spore Slit Impaction Cassette | 75 | 51-75% | 68 | 42 | Cladosporium | 21 | 273 | 28% | Cladosporium | Low | 0.53846 | Bathroom cladosporium below outdoor baseline but still notable | Lab Results - 1701206.pdf | Page 2
AEMTEK | 1701206 | 23671229 | Outside (ambient) | Outdoor | Spore Slit Impaction Cassette | 75 | 51-75% | 61 | 35 | Aspergillus/Penicillium-like | 10 | 130 | 6% | Aspergillus/Penicillium | Moderate | 1 | Outdoor reference for AEMTEK dataset | Lab Results - 1701206.pdf | Page 2 + page 3
AEMTEK | 1701206 | 23671229 | Outside (ambient) | Outdoor | Spore Slit Impaction Cassette | 75 | 51-75% | 61 | 35 | Cladosporium | 39 | 507 | 22% | Cladosporium | Low | 1 | Outdoor reference cladosporium baseline | Lab Results - 1701206.pdf | Page 2
AEMTEK | 1701206 | 23671229 | Outside (ambient) | Outdoor | Spore Slit Impaction Cassette | 75 | 51-75% | 61 | 35 | Basidiospores | 62 | 806 | 35% | Basidiospores | Moderate | 1 | Outdoor baseline dominated by basidiospores | Lab Results - 1701206.pdf | Page 2
Note on T5: Sources: /mnt/data/21056763_Jaunich_20211020173423.pdf ; /mnt/data/Lab Information.pdf ; /mnt/data/Lab Results - 1701206.pdf

## IAQ Scoring Engine
Home Health AI – IAQ Scoring Engine
Formula-driven scoring model combining spore load, ratio, markers, moisture, visibility, and occupant sensitivity.
scenario_id | scenario_name | spore_load_score | indoor_outdoor_ratio | ratio_score | marker_score | mycotoxin_score | visible_growth_score | porous_wet_score | humidity_score | sensitivity_score | total_risk_score | risk_band | recommended_action

## Field Input Template
Home Health AI – Field Input Template
Suggested structured inputs for app upload, inspector workflow, or API payload generation.
case_id | photo_id | room | surface_material | surface_porosity | visible_color | visible_texture | growth_pattern | estimated_area_sqft | musty_odor | recent_water_event | humidity_percent | temperature_f | occupant_symptoms_reported | air_sample_available | lab_sample_available | ai_initial_label | human_review_needed | final_disposition | notes
CASE-001 | IMG-001 | Bathroom | Drywall | Porous | Dark green/black | Slimy | Patchy | 6 | Yes | Yes | 69 | 68 | Yes | No | No | Possible Stachybotrys-like | Yes | Escalate to inspection | Visible growth near shower wall
CASE-002 | IMG-002 | Bedroom | Window sill | Non-porous | Olive green | Velvety | Linear | 1 | No | No | 52 | 70 | No | No | No | Cladosporium-like | Maybe | Clean + monitor | Likely condensation-associated

## API Mapping
Home Health AI – API Mapping
Simple field mapping for developer handoff from workbook logic to app/backend schema.
workbook_sheet | workbook_field | api_field_name | data_type | required | description | example_value | source_logic | notes | owner
Field Input Template | case_id | caseId | string | Yes | Unique case identifier | CASE-001 | App-generated | Primary key | App
Field Input Template | photo_id | photoId | string | Yes | Image upload identifier | IMG-001 | Upload service | Link to CV pipeline | App
Field Input Template | humidity_percent | humidityPct | number | No | Ambient humidity during inspection | 69 | Sensor/manual entry | Use in moisture scoring | App/Inspector
Mold Species Database | species_name | speciesName | string | Yes | Canonical species or grouped label | Stachybotrys chartarum | Reference table | Taxonomy source | Data
Mold Species Database | ai_visual_group | visualGroup | string | Yes | Computer-vision-safe grouping | Aspergillus/Penicillium | Reference table | Prevents false precision | Data
IAQ Scoring Engine | total_risk_score | riskScore | number | Yes | Composite model score | 82 | Formula | 0-100+ | Logic
IAQ Scoring Engine | risk_band | riskBand | string | Yes | Human-readable risk bucket | High Concern | Formula | Shown to user and inspector | Logic
IAQ Scoring Engine | recommended_action | recommendedAction | string | Yes | Next-step recommendation | Contain area + professional inspection | Formula | Non-medical guidance | Logic
Real Lab Data Training | spores_per_m3 | sporesPerM3 | number | No | Normalized lab result count | 247 | Uploaded reports | Training/QA data | Data
Lab Interpretation Rules | lab rule / interpretation | labRuleText | string | No | Safety and interpretation guidance | Indoor air is compared to exterior baseline | Uploaded reports | Prompt conditioning | Policy/Logic